## Slide 1
**Automated Water Leakage Detection and Control System with IoT Integration**

## Slide 2
Abstract:
The water leakage detection and control system is designed to monitor and manage water flow efficiently, preventing wastage and potential damage. It employs two water flow sensors—one at the inlet to measure the total incoming flow and another at the outlet to track the actual flow. Any discrepancy between these readings indicates a leakage in the pipeline. Upon detecting a leakage, the system automatically activates a solenoid valve to shut off the water supply, stopping further wastage. Simultaneously, the pump motor is turned off to halt water flow, ensuring controlled operation. To enhance responsiveness, a GSM module sends an SMS alert to a designated person, notifying them of the leakage incident in real time. Additionally, the system updates the status on an IoT-enabled webpage, allowing remote monitoring and data analysis. This IoT integration provides users with a continuous log of water flow patterns and leakage incidents, enabling proactive maintenance. The system not only conserves water but also reduces operational costs by minimizing damages caused by unnoticed leaks. The real-time monitoring feature ensures that immediate action can be taken upon detecting a fault, enhancing reliability and efficiency. By automating the detection and control process, this project offers a smart and effective solution for residential, industrial, and agricultural water management applications. The combination of flow sensors, solenoid valves, pump motor control, GSM alerts, and IoT integration creates a comprehensive water conservation system that prevents losses, promotes sustainable water usage, and ensures uninterrupted water distribution. The system’s ability to detect, report, and mitigate leakages autonomously makes it a valuable asset in water management infrastructure, providing users with an efficient and cost-effective approach to handling water supply issues. This innovative solution enhances sustainability by preventing excessive water wastage, promoting conservation, and improving overall resource management.

## Slide 3
Existing System:
Existing System Drawback:
• • Delayed Detection and Response – Manual inspection methods result in slow leak detection, leading to unnecessary water wastage and potential damage before corrective action is taken.
• • Continuous Water Loss – In the absence of an automated shutoff mechanism, water continues to leak until manually addressed, increasing water bills and resource wastage.
• • Higher Maintenance Costs – Frequent unnoticed leaks can cause structural damage, requiring costly repairs and replacements in pipelines and water distribution systems
 Manual Monitoring and Detection – Traditional water leakage detection relies on manual inspection, which is time-consuming, inefficient, and prone to human error, leading to delayed responses and increased water wastage.
 Lack of Automated Control – Existing systems do not have an automated mechanism to stop water flow upon detecting a leakage, resulting in continuous wastage and potential damage to infrastructure.
 Limited Alert and Monitoring System – Conventional setups lack real-time alerting and remote monitoring via IoT, making it difficult to track leaks instantly and take prompt action to prevent excessive water loss

## Slide 4
Proposed System:
 Automated Leakage Detection and Control – The system uses two water flow sensors to detect discrepancies in water flow, automatically identifying leakages and activating a solenoid valve to shut off the water supply, preventing wastage.
 Real-Time Alerts and IoT Monitoring – A GSM module sends SMS notifications to a designated person upon detecting a leak, while the IoT-enabled webpage updates in real time, allowing remote monitoring and analysis of water flow data.
 Efficient Water Management and Conservation – By integrating automation, real-time alerts, and remote access, the system minimizes water loss, reduces maintenance costs, and ensures sustainable water distribution for residential, industrial, and agricultural applications.
• • Automated Leakage Prevention – The system detects leaks in real time and automatically shuts off the water supply, preventing unnecessary water loss and damage.
• • Real-Time Alerts and Remote Monitoring – The GSM module sends instant SMS notifications, and IoT integration allows users to monitor the system remotely, ensuring quick response and efficient management.
• • Water Conservation and Cost Savings – By stopping leaks immediately, the system helps conserve water, reduces utility bills, and minimizes maintenance costs associated with water damage.
Advantages:

## Slide 5
Working Principle:
The water leakage detection and control system operates using two water flow sensors, a solenoid valve, a pump motor, a GSM module, and IoT integration. One water flow sensor is installed at the inlet to measure the total water flow entering the system, while the second sensor is placed downstream to monitor the actual flow at the output. If the readings of both sensors do not match, it indicates a leakage in the pipeline. When a leakage is detected, the system immediately triggers the solenoid valve to close the water supply, preventing further wastage. Simultaneously, the pump motor is deactivated to stop the water flow, ensuring minimal loss and damage. The GSM module plays a crucial role in alerting the concerned individual by sending an SMS notification about the leakage incident. Additionally, the system updates the status on an IoT webpage in real-time, allowing remote monitoring and management. This IoT-based feature provides continuous water flow monitoring and logs data for analysis. The project enhances water conservation by preventing leaks from causing excessive wastage and potential structural damage. It also ensures a prompt response to leaks, reducing maintenance costs and increasing the efficiency of the water distribution system. The integration of GSM and IoT makes the system highly reliable, as users can take immediate action upon receiving alerts. The pump motor resumes operation only after the leakage is fixed and system stability is restored. This automated approach ensures a smart and efficient way of detecting and addressing water leaks, making it an ideal solution for residential, industrial, and agricultural water management applications.

## Slide 6
Block Diagram:
ARDIUNO UNO
POWER SUPPLY
WATER FLOW SENSOR(2)
SOLINOID VALVUE
PIPE SETUP
GSM
ANDROID
MOTOR DRIVER
IOT
PUMP MOTOR(2)

## Slide 7
Hardware Requirement:
1. ARDIUNO UNO
2. WATER FLOW SENSOR
3. IOT
4. MOTOR DRIVER
5. PUMP MOTOR
6. POWE SUPPLY
7. SOLINOID VALVE

## Slide 8
Software Requirement:
ARIDIUNO IDE
IOT WEB APPLICATION
Application:
 Residential Water Management – Helps homeowners detect and prevent water leakage in pipelines, reducing water wastage and lowering utility bills.
 Industrial and Commercial Use – Ensures efficient water distribution in factories, hotels, and office buildings by detecting leaks early and preventing damage to infrastructure.
 Agricultural Irrigation Systems – Monitors water flow in irrigation pipelines, preventing water loss due to leaks and ensuring optimal water usage for crops.